THERMO FISHER SCIENTIFIC INDIA PVT LTD

01.FINNPIPETTE F1 ( Fixed Volume /Variable Volume /Multichannel )

- Silent,effortless volume adjustments

- Volume lock mechanism to prevent accidental volume changes .

- Adjustable finger rest 120⁰C for optimal pipette position

- Extremely Light weight

- Multichannel 8/12/16

- Fixed Volume ranges covers 10ul-10000ul

- GLP kit ranges available .

- Variable Volume Range Covers 0.2-1000ul

02.FINPIPETTE F2  (Fixed Volume /Variable Volume /Multichannel )

- Fully autoclavable

- Large  Ergo vision display  for better visibility

- Double action pipetting  button

- Super blowout piston for better accuracy

- Soft touch tip ejector

- Wide and supportive finger rest

- Fixed Volume ranges Covers 1ul to 10000ul

- Variable Volume ranges covers 0.2 to 10000ul

- Multi channels 8/12/16

- GLP kits are available

03.FINNPIPETTE  F3 (Fixed Volume/ Variable Volume   )

- Large and clear Display

- Double action pipette hat

- Light pipetting action

- Advance Volume gearing mechanism for better accuracy and precision

- Fixed Volume ranges covers 1ul to 1000ul

- Variable volumes ranges Covers 1ul t0 10000ul

04. Novus Range  of Electronic Single/Multichannel Pipettes

- Multiple  Language Selection option

- Backlit Technology

- 10 pipetteing functions and 9 speeds

- Variable single channel ranges covers 1-10000 ul

- Multichannel 8/12/16 channels and ranges covers 1-1200 ul.

05.RANGE OF FILTER/NON FILTER TIPS

*BRAND :LAB TIPS  -Full range of regular tips and Filter tips

*BRAND : QSP TIPS-Full range of non filtered/filtered Tips

*BRAND:ART TIPS-High quality range of filtered tips