01.Sewlab 3PDA (MODEL :SWELAB ALFA PLUS)

- Fully automated advanced 3PDA

- Maintanance  free sheer valve Technology.

- 2 Reagent system no startup/shutdown

- 22 parameters

- 60test/hour

- Extended platelet count in low platelet samples .

02. 5PDA (MODEL  : SWELAB LUMI )

- User  friendly software and hardware

- Space saving  very compact design

- 60samples /hr for CBC Mode

- Very  Economical Cost

- 29 Parameters.